## Schedule of Rates
SOR Code | Item Description | Action | Unit | Rate | Quantity | Total Cost | Category | Comments
W8678 | Additional Horizontal Cable Feeder Tray Section between Structure and accommodation window/entry point (per 6m increments) - Extra Over initial 3 metres of horizontal cable tray included in Pole/Structure SORs (eg: W9106 or similar) |  | Per 6 Lm | 1266.3 | 0 |  | General SOR Pricing Items
W9060 | Vertical Cable Feeder Tray (per 6m increments) |  | Per 6 Lm | 897.2 | 0 |  | General SOR Pricing Items
W13366 | Horizontal Cable Feeder Tray (per 6m increments) |  | Per 6 Lm | 1026.3 | 0 |  | General SOR Pricing Items
W11417 | Buried Galvanised Earth Strap |  | Lm | 62.5 | 0 |  | General SOR Pricing Items
W11418 | Buried Copper Earth Strap |  | Lm | 68.3 | 0 |  | General SOR Pricing Items
W11419 | Driven Earth Electrodes (2 x 1440 long) & Pit - First |  | each | 936.5 | 0 |  | General SOR Pricing Items
W13325 | Additional earthing rods up to 1500 long - Extra Over W11419 (Driven Earth Electrodes (2 x 1440 long) & Pit) |  | Each | 206.45 | 0 |  | General SOR Pricing Items
W11420 | Drilled Earth Electrode Up to 6 m long & Pit - First |  | each | 1290 | 0 |  | General SOR Pricing Items
W13326 | Additional earthing rods and/or rod length greater than 6 metres.- Extra Over W11420 (Drilled Earth Electrodes & Pit) |  | Lm | 291 | 0 |  | General SOR Pricing Items
W12514 | Feeder Earth Bar (FEB) |  | Each | 465 | 0 |  | General SOR Pricing Items
R12513 | Remove Panel Antenna or tower mounted device |  | each | 285 | 0 |  | General SOR Pricing Items
W7520 | One panel Antenna installation |  | each | 860 | 0 |  | General SOR Pricing Items
W13360 | One panel Antenna installation- extra over |  | each | 475 | 0 |  | General SOR Pricing Items
W13358 | One 5G AAU Installation - first |  | each | 1419 | 0 |  | General SOR Pricing Items
W13359 | One 5G AAU Installation - extra over |  | each | 735 | 0 |  | General SOR Pricing Items
W7519 | OMNI Antenna |  | each | 0 | 0 |  | General SOR Pricing Items
W12804 | GPS system swap |  | each | 368 | 0 |  | General SOR Pricing Items
W13175 | Colour matching / painting of existing at height or rooftop Tower mounted device (In situ). |  | each | 265.9 | 0 |  | General SOR Pricing Items
W13176 | Colour matching / painting of new at height or rooftop equipment prior to installation |  | each | 85.6 | 0 |  | General SOR Pricing Items
W7893 | Tower Mounted Device - First (TMA, COM,FILTER) |  | each | 353 | 0 |  | General SOR Pricing Items
W13362 | Tower Mounted Device (TMD) - Extra over W7893 for Each additional |  | each | 296 | 0 |  | General SOR Pricing Items
W13178 | Relocate existing antenna, RRU or Tower Mounted Device up to 3 metres |  | each | 507 | 0 |  | General SOR Pricing Items
W12252 | Remote Radio Unit - First (RRU) |  | each | 812.5 | 0 |  | General SOR Pricing Items
W12253 | RRU x 1 - Extra over W12252 for each additional |  | each | 525.85 | 0 |  | General SOR Pricing Items
W13174 | External RF tails up to 5m |  | each | 103.35 | 0 |  | General SOR Pricing Items
W13363 | Relocate RRU on existing mounting Pipe up to 1 metre |  | each | 456.9 | 0 |  | General SOR Pricing Items
W13364 | External Custom Made Tails on the structure or roof (5.1-10m) |  | each | 298.9 | 0 |  | General SOR Pricing Items
W13365 | External Custom Made Tails on the structure or roof (10.1-15m) |  | each | 265.3 | 0 |  | General SOR Pricing Items
R12838 | Recover existing Hydridflex or feeder |  | each | 9.945 | 0 |  | General SOR Pricing Items
W12814 | Feeder – (15m – 50m) Structure - ½” Feeder Cable x 1 (single) |  | Each | 2354.43 | 0 |  | General SOR Pricing Items
W12815 | Feeder – (15m – 50m) Structure - ½” Feeder Cable x 2 (one pair) |  | Each | 2578.901 | 0 |  | General SOR Pricing Items
W12816 | Feeder – (15m – 50m) Structure - ½” Feeder Cable x 6 (three pair) |  | Each | 4338.802 | 0 |  | General SOR Pricing Items
W12817 | Feeder – (15m – 50m) Structure - ⅞ “ Feeder Cable x 1 (single) |  | Each | 2226.913 | 0 |  | General SOR Pricing Items
W12818 | Feeder – (15m – 50m) Structure - ⅞ “ Feeder Cable x 2 (one pair) |  | Each | 2769.897 | 0 |  | General SOR Pricing Items
W12819 | Feeder – (15m – 50m) Structure- ⅞ “ Feeder Cable x 6 (three pair) |  | Each | 6815.926 | 0 |  | General SOR Pricing Items
W12820 | Feeder – (20m – 100m) Structure - 1¼” Feeder Cable x 1 (single) |  | Each | 3221.543 | 0 |  | General SOR Pricing Items
W12821 | Feeder - (20m – 100m) Structure - 1¼” Feeder Cable x 2 (one pair) |  | Each | 5270.798 | 0 |  | General SOR Pricing Items
W12822 | Feeder - (20m – 100m) Structure- 1¼” Feeder Cable x 6 (three pair) |  | Each | 9228.83 | 0 |  | General SOR Pricing Items
W12823 | Feeder - (25m - 100m) Structure - 1⅝” Feeder Cable x 1 (single) |  | Each | 3024.671 | 0 |  | General SOR Pricing Items
W12824 | Feeder - (25m - 100m) Structure - 1⅝” Feeder Cable x 2 (one pair) |  | Each | 5104.671 | 0 |  | General SOR Pricing Items
W12825 | Feeder - (25m - 100m) Structure - 1⅝” Feeder Cable x 6 (three pair) |  | Each | 9754.849 | 0 |  | General SOR Pricing Items
W12826 | Feeder– ½” x 1 - Extra Over for additional increment per lineal metre |  | Per Lm / feeder | 32.331 | 0 |  | General SOR Pricing Items
W12827 | Feeder– ⅞” x 1 - Extra Over for additional increment per lineal metre |  | Per Lm / feeder | 32.331 | 0 |  | General SOR Pricing Items
W12828 | Feeder– 1¼” x 1 - Extra Over for additional increment per lineal metre |  | Per Lm / feeder | 13.832 | 0 |  | General SOR Pricing Items
W12829 | Feeder– 1⅝” x 1 - Extra Over for additional increment per lineal metre |  | Per Lm / feeder | 12.844 | 0 |  | General SOR Pricing Items
W13177 | Re-terminate existing feeders to new equipment at height where existing feeders are reused |  | Each | 405.6 | 0 |  | General SOR Pricing Items
W12831 | 1 x Hybrid cable on a 15m- 75m Structure (Up to 90m per cable) - First |  | Each | 5732.311 | 0 |  | General SOR Pricing Items
W12834 | Additional Hybrid cable on a 15m- 75m Structure Extra Over W12831 for Each additional Hybrid cable x 1 (Up to 90m per cable) |  | Each | 2616.081 | 0 |  | General SOR Pricing Items
W12835 | Additional Hybrid cable per meter - Extra Over W12831 and W12834 for additional increment per lineal metre |  | Lm | 131.235 | 0 |  | General SOR Pricing Items
W13367 | Hybriflex x 1 - rooftop per lineal metre |  | each | 61.25 | 0 |  | General SOR Pricing Items
W13368 | Hybriflex x 2 - rooftop per lineal metre |  | each | 97.5 | 0 |  | General SOR Pricing Items
W13369 | Hybriflex x 3 - Rooftop per lineal metre |  | each | 101.855 | 0 |  | General SOR Pricing Items
W12807 | Feeder - ½” x 2 building / rooftop |  | each | 50.18 | 0 |  | General SOR Pricing Items
W12809 | Feeder - ⅞” x 2 building / rooftop |  | each | 45.5 | 0 |  | General SOR Pricing Items
W12808 | Feeder – 1 x ⅞” Feeder cable On building / rooftop / or similar per lm |  | each | 85 | 0 |  | General SOR Pricing Items
W12811 | Feeder - 1¼” x 2 building / rooftop |  | each | 87.1 | 0 |  | General SOR Pricing Items
W12813 | Feeder - 1⅝” x 2 building / rooftop |  | each | 97.5 | 0 |  | General SOR Pricing Items
R13370 | Recover Feeder or hybrid on a building / per lm rooftop / or similar during new installation |  | each | 9 | 0 |  | General SOR Pricing Items
W12291 | RET Cable (AISG) x 1 |  | each | 168.48 | 0 |  | General SOR Pricing Items
W13371 | Hybrid Cable termination (On building / rooftop / or similar) |  | each | 185.25 | 0 |  | General SOR Pricing Items
W13159 | Re-Connect existing RF Tail onto New Antenna during Antenna Swap out |  | each | 71.76 | 0 |  | General SOR Pricing Items
ST005 | Testing and reporting on legacy hybrid feeders |  | each | 117 | 0 |  | General SOR Pricing Items
W13375 | PIM/Sweep testing to reused existing spare feeder (per feeder) |  | each | 97.5 | 0 |  | General SOR Pricing Items
W13336 | TUFT or turret style Antenna Dual Stack headframe |  | each | 2964 | 0 |  | General SOR Pricing Items
W13337 | TUFT or turret style Antenna Single Stack headframe |  | each | 2184 | 0 |  | General SOR Pricing Items
W13338 | Fitted Type Headframe (J1 or J2 Triangular or similar) suitable for 6 antennas on a New Structure |  | each | 2418 | 0 |  | General SOR Pricing Items
W13348 | Additional 2400mm long Mounting Pipes to New Headframe Extra Over W11428 or W8671 |  | each | 375.7 | 0 |  | General SOR Pricing Items
W13349 | Additional up to 2400mm long Mounting Pipes mounted to Existing headframe |  | each | 469.6 | 0 |  | General SOR Pricing Items
W13704 | Headframe Rotation |  | Each | 7669 | 0 |  | General SOR Pricing Items
W11428 | Antenna Headframe on a New Structure (monopole) |  | each | 1997 | 0 |  | General SOR Pricing Items
W8671 | Antenna Headframe on Existing Structure (monopole) |  | each | 6688.5 | 0 |  | General SOR Pricing Items
R13160 | Removal and Recovery of Existing Single Turret Headframe |  | each | 3069 | 0 |  | General SOR Pricing Items
R13161 | Removal and Recovery of Existing Dual Stacked Turret Headframe |  | each | 3424 | 0 |  | General SOR Pricing Items
W13351 | Collar Mount to Monopole comprising all necessary required banding and 3 x up to 3000 long pipes - Std Dwg 017866P133 (Sh6/7/11 or similar) (suitable for RRU, TMA, Antennas, etc) |  | each | 1490 | 0 |  | General SOR Pricing Items
R13158 | Removal and Recovery of Existing headframe |  | each | 3094 | 0 |  | General SOR Pricing Items
W11537 | Antenna Mounting Bar Assembly |  | each | 927.8 | 0 |  | General SOR Pricing Items
W13706 | Install NR850 Rack |  | Each | 2548.65 | 0 |  | General SOR Pricing Items
W13980 | Install Low Band Radio 44XX Rack Fitout |  | each | 1950 | 0 |  | General SOR Pricing Items
W13699 | Install ESC (Ericsson Site Controller) |  | Per unit | 871 | 0 |  | General SOR Pricing Items
R13701 | Recovery of Baseband Unit, DUS or R503 (or similar) |  | Per unit | 123.5 | 0 |  | General SOR Pricing Items
W12243 | Internal Surge Protection Device (SPD) |  | Each | 1047.15 | 0 |  | General SOR Pricing Items
W12840 | External Surge Protection Device (SPD) |  | Each | 1164.28 | 0 |  | General SOR Pricing Items
W13708 | ESC Data Refresh due to DC power system augmentation |  | Per Site | 316.9 | 0 |  | General SOR Pricing Items
R12839 | Recovery of Racks |  | Each | 515.45 | 0 |  | General SOR Pricing Items
W12553 | Node B (6202) |  | each | 1677 | 0 |  | General SOR Pricing Items
W13393 | Install a Site Router or ERAN switch (Eg: R6675, R6673 or similar) |  | Per unit | 422.5 | 0 |  | General SOR Pricing Items
W13698 | Installation of DWDM module in new/existing DWDM chassis (18 channel (9ch Bidirectional)) |  | Per unit | 106.35 | 0 |  | General SOR Pricing Items
W13312 | Installation of DWDM module in new/existing DWDM chassis (6 channel (3ch Bidirectional)) |  | Per unit | 99.8 | 0 |  | General SOR Pricing Items
W13700 | Relocate Site Cell Router (e.g. SIU) |  | Per unit | 298.5 | 0 |  | General SOR Pricing Items
W11785 | Card - Plug-in (Install and commission DUS/DUW) |  | per unit | 247 | 0 |  | General SOR Pricing Items
W13702 | External Surge Protection Device (SPD) Augmentation Box |  | Each | 799.5 | 0 |  | General SOR Pricing Items
W13703 | Internal Surge Protection Device (SPD) Augmentation Box |  | Each | 721.5 | 0 |  | General SOR Pricing Items
W11781 | Miscellaneous Rack |  | each | 550.16 | 0 |  | General SOR Pricing Items
W12239 | Radio Donor Rack |  | each | 552.6 | 0 |  | General SOR Pricing Items
W13163 | One (1) new MTP patch panel in existing or new Rack |  | each | 178.1 | 0 |  | General SOR Pricing Items
W13164 | Two (2) new MTP patch panels in existing or new Racks |  | each | 366.6 | 0 |  | General SOR Pricing Items
W13165 | Relocate existing Card (RBS6601). |  | each | 187.2 | 0 |  | General SOR Pricing Items
W13166 | Relocate existing SPD up to 10 metres |  | each | 1267.5 | 0 |  | General SOR Pricing Items
R13167 | Replace SPD |  | each | 1190.28 | 0 |  | General SOR Pricing Items
R13168 | Remove and Recover redundant SPD |  | each | 256.75 | 0 |  | General SOR Pricing Items
R13169 | Removal and Recover internal Filter or Combiner |  | each | 72.1 | 0 |  | General SOR Pricing Items
W13170 | Relocate internal Filter or Combiner |  | each | 97.5 | 0 |  | General SOR Pricing Items
W13171 | Relocate Equipment Rack |  | each | 451.1 | 0 |  | General SOR Pricing Items
W13172 | Relocate 6000 series RBS |  | each | 1417 | 0 |  | General SOR Pricing Items
W13173 | Relocate 3000 series RBS |  | each | 2197 | 0 |  | General SOR Pricing Items
W13374 | Testing of 4G/5G Installation using Blackbird App including all required Call / Data Tests (first carrier per sector only) |  | Per sector | 110.5 | 0 |  | General SOR Pricing Items
W13400 | Testing of 4G/5G Installation using Blackbird App including all required Call / Data Tests (extra over first carrier per sector for each subsequent carrier per sector) |  | Per sector / carrier | 91 | 0 |  | General SOR Pricing Items
W13709 | Install Enatel 4kW DC/DC converter |  | each | 1073.8 | 0 |  | General SOR Pricing Items
W13372 | DC Power - SP18 / SP22 / SP33/SP36 Power System |  | each | 2405 | 0 |  | General SOR Pricing Items
W7527 | DC Power - 48V Power System (Flatpack 2 or equivalent) |  | each | 1625 | 0 |  | General SOR Pricing Items
W7529 | DC Power - Additional Rectifier Module into existing power system |  | each | 68.25 | 0 |  | General SOR Pricing Items
R12516 | DC Power – Remove and Recover existing battery string |  | each | 189.15 | 0 |  | General SOR Pricing Items
W7528 | DC Power - Battery String into existing rectifier / battery cabinet |  | each | 216.45 | 0 |  | General SOR Pricing Items
W12802 | DC/DC Converter – in Existing Power System |  | each | 1008.8 | 0 |  | General SOR Pricing Items
W12803 | DC/DC Converter – in Existing Power System |  | each | 72.8 | 0 |  | General SOR Pricing Items
W13179 | Battery Expansion Rack |  | each | 635.7 | 0 |  | General SOR Pricing Items
W13180 | Relocate an existing Power System within the existing Hut |  | each | 2158 | 0 |  | General SOR Pricing Items
R12517 | Recover Power Racks |  | each | 425.1 | 0 |  | General SOR Pricing Items
W13373 | Cut over existing DC power load from existing power cabinet and reconnect it to the new power rack |  | Per Unit | 643.5 | 0 |  | General SOR Pricing Items
W13655 | Install Fully Equipped Rack for 4x4 low band design |  | each | 2197 | 0 |  | General SOR Pricing Items
ST002 | RRU installed in shelter |  | each | 475 | 0 |  | General SOR Pricing Items
ST003 | RRU recovery from shelter |  | each | 225 | 0 |  | General SOR Pricing Items
W13385 | Power distribution panel (PDP) or DCDU installation |  | each | 175.6 | 0 |  | General SOR Pricing Items
W10376 | Install optical fibre patch panel |  | Each | 51 | 0 |  | General SOR Pricing Items
ST001 | Replace VAK00019 Filter |  | each | 115 | 0 |  | General SOR Pricing Items
ST004 | Lemnic L600 Air conditioner |  | each | 0 | 0 |  | General SOR Pricing Items
W13653 | Site Rise Antenna Solution Option 1 or 2 – First Sector |  | Each | 3069 | 0 |  | General SOR Pricing Items
W13654 | Site Rise Antenna Solution Option 1 or 2 - extra over W13653 for each additional sector |  | Each | 2240 | 0 |  | General SOR Pricing Items
W13656 | Site Rise – Clear Existing Headframe to fit site rise modules |  | Each | 2898 | 0 |  | General SOR Pricing Items
W13657 | Site Rise – Reconfigure headframe for Temporary Site Restoration |  | Each | 2561 | 0 |  | General SOR Pricing Items
W13658 | Site Rise – Installation of RRU on Site Rise Module |  | Each | 58.5 | 0 |  | General SOR Pricing Items
R13659 | Packaging recovered RRU |  | Each | 88.5 | 0 |  | General SOR Pricing Items
R13660 | Packaging recovered Filter/Combiners |  | Each | 80.6 | 0 |  | General SOR Pricing Items
R13661 | Packaging recovered RBS6202 |  | Each | 85.5 | 0 |  | General SOR Pricing Items
R13662 | Packaging recovered Digital Unit or CPRI Multiplexer Unit - XMU (R503) |  | Each | 68 | 0 |  | General SOR Pricing Items
R13663 | Packaging recovered RBS6601 |  | Each | 75 | 0 |  | General SOR Pricing Items
R13664 | Packaging recovered SIU-02 |  | Each | 79 | 0 |  | General SOR Pricing Items
ST006 | Site buildability survey and reporting |  | per site | 1020 | 0 |  | General SOR Pricing Items
ST007 | FIM and waste management |  | per site | 860 | 0 |  | General SOR Pricing Items
W13398 | Tier 2 Tower Inspections BAU when completing Build |  | per site | 329 | 0 |  | General SOR Pricing Items
W13760 | Team Leader (Normal Working Hours) LAB-30 |  | per hour | 95 | 0 |  | General SOR Pricing Items
W13761 | Team Leader (Out of Normal Working Hours) LAB-31 |  | per hour | 145 | 0 |  | General SOR Pricing Items
W13762 | Technician (Normal Working Hours) LAB-32 |  | per hour | 90 | 0 |  | General SOR Pricing Items
W13763 | Technician (Out of Normal Working Hours) LAB-33 |  | per hour | 140 | 0 |  | General SOR Pricing Items
W13764 | Radio Lines /Riggers (Normal Working Hours) LAB-34 |  | per hour | 95 | 0 |  | General SOR Pricing Items
W13765 | Radio Lines /Riggers (Out of Normal Working Hours) LAB-35 |  | per hour | 145 | 0 |  | General SOR Pricing Items
W13768 | Senior Technician (Normal working hoours) |  | per hour | 100 | 0 |  | General SOR Pricing Items
W13769 | Senior Technician (Out of Normal working hours) |  | per hour | 150 | 0 |  | General SOR Pricing Items
ST008 | Signage (supplied as FIM) |  | each | 25 | 0 |  | General SOR Pricing Items
ST020 | MTX works as per design - Site specific (to be quoted per site) |  | each | 0 | 0 |  | General SOR Pricing Items
ST011 | Accommodation and meals |  | night | 250 | 0 |  | General SOR Pricing Items
ST012 | Capital city accommodation and meals |  | night | 250 | 0 |  | General SOR Pricing Items
ST013 | Travel per vehicle |  | per km | 1.6 | 0 |  | General SOR Pricing Items
ST014 | Travel charge rate per rigger/tech |  | per hr | 85 | 0 |  | General SOR Pricing Items
ST009 | Traffic management and permits |  | each | 0 | 0 |  | General SOR Pricing Items
ST010 | Mains and sub mains AC works |  | each | 0 | 0 |  | General SOR Pricing Items
W13181 | Small Cell SMR - Option 1 - Radio Head – Structure Mounted |  | each | 5136 | 0 |  | General SOR Pricing Items
W13182 | Small Cell SMR - Option 2 - Radio Head – Cabinet - Structure with ground based enclosure |  | each | 5550 | 0 |  | General SOR Pricing Items
W13183 | Small Cell SMR - Option 3 - Macro Lite – Cabinet - Structure with ground based enclosure |  | each | 5496 | 0 |  | General SOR Pricing Items
W13184 | Small Cell SMR - Option 4 - Macro Lite w/ Radio TX - Cabinet - Structure with ground-based enclosure |  | each | 5976 | 0 |  | General SOR Pricing Items
W13185 | Small Cell SMR - Option 5 - Macro Lite – Exchange/building |  | each | 4374 | 0 |  | General SOR Pricing Items
W13406 | Small Cell SMR - Option 6 – Macro-Lite – Structure mounted |  | each | 5550 | 0 |  | General SOR Pricing Items
W13407 | Small Cell SMR - Option 7 – Macro-Lite w/ Radio TX – Structure mounted |  | each | 6690 | 0 |  | General SOR Pricing Items
W13408 | Small Cell – Option H1 – HetNet Radio Head – Cabinet - Structure with ground-based enclosure |  | each | 8190 | 0 |  | General SOR Pricing Items
W13409 | Small Cell – Option H2 – HetNet Radio Head – Structure mounted |  | each | 8535 | 0 |  | General SOR Pricing Items
W13410 | Small Cell – Option H3 – Sectored HetNet Radio Head – Structure mounted |  | each | 8865 | 0 |  | General SOR Pricing Items
W13411 | Small Cell – HetNet – Additional Sector for Option H3 |  | each | 2110 | 0 |  | General SOR Pricing Items
W13413 | Installation of WiFi Hotspot in combination with Small Cell site build. |  | each | 2390 | 0 |  | General SOR Pricing Items
W13414 | Small Cell – Outdoor BB Unit Install at Exchange or CMTS Macro Site |  | each | 822 | 0 |  | General SOR Pricing Items

## DOs and DONTs
PRICING SPREADSHEET IMPORT RULES & INSTRUCTIONS
RULE CATEGORY | RECOMMENDED ACTIONS (DOs) | THINGS TO AVOID (DONTs)
Column Structure | Keep the 6 standard columns in the correct layout: A (Code), B (Description), C (Unit), D (Rate), E (Category), F (Comments). | Do NOT delete or rename the standard columns. Empty columns are okay, but their headers and positions must be preserved.
Wording & Headers | Ensure first row contains column header labels. The import engine matches column types automatically using keywords (e.g. 'code', 'rate'). | Do NOT add duplicate header labels or nested multi-row header configurations.
Row Spacing & Merges | Place each Schedule of Rates item on its own flat row. | Do NOT merge cells across columns or rows in the data section. Merges break CSV alignment.
Pricing Rates | Type rate values as clean decimal numbers. Comma separators and currency symbols ($) are cleaned automatically on import. | Do NOT write formulas in the Rate column (e.g. =C4*D4). The Rate column must be a static number.
Category Grouping | Classify every item by specifying its Section/Category in Column E. This groups matching items beautifully in the PDF BOQ generator. | Do NOT leave the Category column empty. Uncategorized items default to 'General SOR Pricing Items'.
Active Items | Ensure every pricing row has an Item Description in Column B. Empty descriptions are ignored. | Do NOT delete the column header row or leave descriptions empty for items you want to keep.