## Schedule of Rates
SCHEDULE OF RATES (SOR) BILL OF QUANTITIES
SOR Code | Item Description | Action | Unit | Rate | Quantity | Total Cost
ANTENNA MOUNTS AND HEADFRAME (EX PLANT, FIM)
| Additional TUFT or equivalent style Antenna Single Stack POD | INSTALL | each | 2418 | 3
| Install new face mounts on existing structure |  | each | 2184 | 0
R13158 | Removal and Recovery of Existing headframe |  | each | 3094 | 0
R13160 | Removal and Recovery of Existing Single Turret Headframe |  | each | 2938 | 0
R13160 | Removal and Recovery of Existing Single Turret Headframe |  | each | 4030 | 0
R13161 | Removal and Recovery of Existing Dual Stacked Turret Headframe |  | each | 3224 | 0
R13161 | Removal and Recovery of Existing Dual Stacked Turret Headframe |  | each | 8320 | 0
W11428 | Antenna Headframe on a New Structure (monopole) |  | each | 3497 | 0
W11537 | Antenna Mounting Bar Assembly |  |  | 0 | 0
W13336 | TUFT or turret style Antenna Dual Stack headframe | INSTALL | each | 2964 | 3
W13338 | TUFT or turret style Antenna Single Stack headframe |  | each | 2184 | 0
W13349 | Install new Antenna or RRU mounting pipe |  | each | 375.7 | 0
W13351 | Collar Mount to Monopole comprising all necessary required banding and 3 x up to 3000 long pipes - Std Dwg 017866P133 (Sh6/7/11 or similar) (suitable for RRU, TMA, Antennas, etc) |  | each | 3718 | 0
W13704 | Headframe Rotation |  | Each | 0 | 0
W8671 | Antenna Headframe on Existing Structure (monopole) |  | each | 6688.5 | 0
ANTENNAS, RRUS, TMDS (EX PLANT, INC TESTING, FIM)
| One panel antenna (12 port ) |  | each | 1657.5 | 0
| Recover GPS system |  |  | 285 | 0
| External Combiner | INSTALL, RELOCATE | each | 422.5 | 3
| Reconfigure L1800 RRUs to "B"Config |  | site | 416 | 0
| GPS antenna and receiver replacement | INSTALL | Each | 460 | 1
R12513 | Remove Panel Antenna | RELOCATE | each | 125 | 1
R12513 | Remove omni antenna |  | each | 292.5 | 0
R12513 | Tower Mounted Device (TMA, COM,FILTER) Removal |  | each | 292.5 | 0
R12513 | Remote Radio Unit (RRU) Removal |  | each | 292.5 | 0
W12252 | Remote Radio Unit (RRU) | INSTALL | each | 812.5 | 2
W12253 | RRU x 1 - Extra over W12252 for each additional |  | each | 525.85 | 0
W12804 | GPS system | INSTALL, REPLACE | each | 580.45 | 3
W13174 | External RF tails up to 5m |  | each | 103.35 | 0
W13175 | Colour match hardware/antennas |  | each | 178.75 | 0
W13178 | One Panel antenna relocation |  | each | 767 | 0
W13178 | Tower Mounted Device (TMA, COM,FILTER) Relocation |  | each | 507 | 0
W13178 | Remote Radio Unit (RRU) Relocation | INSTALL, REPLACE | each | 507 | 6
W13358 | One 5G AAU - first |  | each | 1248 | 0
W13359 | One 5G AAU - extra over |  | each | 1001 | 0
W13360 | One panel Antenna- extra over | REPLACE | each | 579.8 | 3
W7519 | OMNI Antenna |  | each | 774.8 | 0
W7520 | One panel Antenna |  | each | 675 | 0
W7893 | Tower Mounted Device (TMA, COM,FILTER) |  | each | 400 | 0
EQUIPMENT INSTALLED IN THE SHELTER
| Installation of DWDM chassis |  | Per unit | 117 | 0
| RBS6601 Recovery and return |  | per unit | 162.5 | 0
| CRAN site integration |  | site | 1664 | 0
| AC power works |  | site | 0 | 0
| RRU installed in shelter |  | each | 475 | 0
| RRU recovery from shelter |  | each | 225 | 0
| Quad band filter installed in shelter | REPLACE | each | 375 | 6
| DCDU installation | INSTALL | each | 175.6 | 1
| Replace VAK00019 Filter | REPLACE | each | 115 | 3
| Lemnic L600 Air conditioner |  | each | 0 | 0
R12516 | DC Power – Remove and Recover existing battery string |  | each | 189.15 | 0
R12517 | Recover Power Racks |  | each | 425.1 | 0
R12839 | Recovery of Racks |  | Each | 515.45 | 0
R13167 | Replace SPD | INSTALL | each | 1190.28 | 1
R13168 | Remove and Recover redundant SPD |  | each | 256.75 | 0
R13169 | Removal and Recover internal Filter or Combiner |  | each | 49.4 | 0
R13701 | Recovery of Baseband Unit, DUS or R503 (or similar) |  | Per unit | 123.5 | 0
W10376 | Install optical fibre patch panel | INSTALL | Each | 51 | 1
W11781 | Miscellaneous Rack |  | each | 550.16 | 0
W11784 | Call / Data Test for 3G installation (first carrier per sector only) |  | per sector | 104 | 0
W11785 | Install and commission DUS/DUW | INSTALL | per unit | 247 | 1
W12239 | Radio Donor Rack |  | each | 552.6 | 0
W12243 | Internal Surge Protection Device (SPD) |  | Each | 1047.15 | 0
W12553 | Node B (6202) |  | each | 1677 | 0
W12802 | DC/DC Converter – in Existing Power System |  | each | 1008.8 | 0
W12803 | DC/DC Converter – in Existing Power System |  | each | 72.8 | 0
W12840 | External Surge Protection Device (SPD) |  | Each | 1164.28 | 0
W13163 | One (1) new MTP patch panel in existing or new Rack |  | each | 178.1 | 0
W13164 | Two (2) new MTP patch panels in existing or new Racks |  | each | 366.6 | 0
W13165 | Relocate existing Card (RBS6601). |  | each | 187.2 | 0
W13166 | Relocate existing SPD up to 10 metres |  | each | 1267.5 | 0
W13170 | Relocate internal Filter or Combiner |  | each | 97.5 | 0
W13171 | Relocate Equipment Rack |  | each | 451.1 | 0
W13172 | Relocate 6000 series RBS |  | each | 1417 | 0
W13173 | Relocate 3000 series RBS |  | each | 2197 | 0
W13179 | Battery Expansion Rack |  | each | 635.7 | 0
W13180 | Relocate an existing Power System within the existing Hut |  | each | 2158 | 0
W13312 | Installation of DWDM module in new/existing DWDM chassis (6 channel (3ch Bidirectional)) |  | Per unit | 240.5 | 0
W13372 | DC Power - SP18 / SP22 / SP33 Power System |  | each | 2405 | 0
W13373 | Cut over existing DC power load from existing power cabinet and reconnect it to the new power rack |  | Per Unit | 643.5 | 0
W13374 | Testing of 4G/5G Installation using Blackbird App including all required Call / Data Tests (first carrier per sector only) |  | Per sector | 110.5 | 0
W13393 | Install a Site Router or ERAN switch (Eg: R6675, or similar) |  | Per unit | 422.5 | 0
W13399 | Call / Data Test for 3G installation (extra over first carrier per sector for each subsequent carrier per sector) |  | Per sector / carrier | 84.5 | 0
W13400 | Testing of 4G/5G Installation using Blackbird App including all required Call / Data Tests (extra over first carrier per sector for each subsequent carrier per sector) |  | Per sector / carrier | 91 | 0
W13655 | Install Fully Equipped Rack for 4x4 low band design |  | each | 2197 | 0
W13674 | Base Band Units (BB) 6630 | INSTALL | Each | 422.5 | 1
W13698 | Installation of DWDM module in new/existing DWDM chassis (18 channel (9ch Bidirectional)) |  | Per unit | 468 | 0
W13699 | Install ESC (Ericsson Site Controller) | INSTALL, RELOCATE | Per unit | 871 | 12
W13700 | Relocate Site Cell Router (e.g. SIU) |  | Per unit | 188.5 | 0
W13702 | External Surge Protection Device (SPD) Augmentation Box |  | Each | 799.5 | 0
W13703 | Internal Surge Protection Device (SPD) Augmentation Box |  | Each | 721.5 | 0
W13706 | Install NR850 Rack |  | Each | 2548.65 | 0
W13707 | Existing Base Band (or similar) - Script Reload |  | Each | 175.5 | 0
W13708 | ESC Data reconfiguration |  | Per Site | 507 | 0
W13709 | Install Enatel 4kW DC/DC converter |  | each | 1073.8 | 0
W13980 | Install Low Band Radio 44XX Rack Fitout |  | each | 1950 | 0
W7527 | DC Power - 48V Power System (Flatpack 2 or equivalent) |  | each | 1625 | 0
W7528 | DC Power - Battery String into existing rectifier / battery cabinet |  | each | 216.45 | 0
W7529 | DC Power - Additional Rectifier Module into existing power system |  | each | 68.25 | 0
FEEDERS AND HYBRIDS - ROOFTOP (EX PLANT, INC TESTING, FIM)
|  |  |  | 0 | 0
| Testing and reporting on legacy hybrid feeders |  | each | 117 | 0
R13370 | Recover Feeder or hybrid on a building / per lm rooftop / or similar during new installation |  |  | 9 | 0
W12291 | RET Cable (AISG) x 1 |  | each | 168.48 | 0
W12807 | Feeder - ½” x 2 building / rooftop |  |  | 50.18 | 0
W12808 | Feeder – 1 x ⅞” Feeder cable On building / rooftop / or similar per lm |  |  | 85 | 0
W12809 | Feeder - ⅞” x 2 building / rooftop |  |  | 45.5 | 0
W12811 | Feeder - 1¼” x 2 building / rooftop |  |  | 87.1 | 0
W12813 | Feeder - 1⅝” x 2 building / rooftop |  |  | 97.5 | 0
W13159 | Re-Connect existing RF Tail onto New Antenna during Antenna Swap out |  | each | 71.76 | 0
W13364 | Custom made tail fabrication over 5m & testing | INSTALL | each | 292.89 | 1
W13367 | Hybriflex x 1 - rooftop per lineal metre |  |  | 55.38 | 0
W13368 | Hybriflex x 2 - rooftop per lineal metre |  |  | 97.5 | 0
W13369 | Hybriflex x 3 - Rooftop per lineal metre |  |  | 101.855 | 0
W13371 | Hybrid Cable termination (On building / rooftop / or similar) | INSTALL | each | 185.25 | 1
W13375 | PIM/Sweep testing to reused existing spare feeder (per feeder) |  | each | 97.5 | 0
FEEDERS AND HYBRIDS - STRUCTURE (EX PLANT, INC TESTING, FIM)
|  |  |  | 0 | 0
R12838 | Recover existing Hydridflex or feeder |  |  | 9.945 | 0
W12816 | Feeder - 15m Structure - ½” Feeder Cable x 6 (three pair) |  |  | 3503.5 | 0
W12816 | Feeder - 20m Structure - ½” Feeder Cable x 6 (three pair) |  |  | 3021.2 | 0
W12816 | Feeder - 25m Structure - ½” Feeder Cable x 6 (three pair) |  |  | 3294.2 | 0
W12818 | Feeder - 15m Structure - ⅞ “ Feeder Cable x 2 (one pair) |  |  | 2119 | 0
W12818 | Feeder - 20m Structure - ⅞ “ Feeder Cable x 2 (one pair) |  |  | 1729 | 0
W12818 | Feeder - 25m Structure - ⅞ “ Feeder Cable x 2 (one pair) |  |  | 1593.8 | 0
W12818 | Feeder - 30m Structure - ⅞ “ Feeder Cable x 2 (one pair) |  |  | 1592.5 | 0
W12818 | Feeder - 35m Structure - ⅞ “ Feeder Cable x 2 (one pair) |  |  | 1820 | 0
W12818 | Feeder - 40m Structure - ⅞ “ Feeder Cable x 2 (one pair) |  |  | 2184 | 0
W12818 | Feeder - 50m Structure - ⅞” Feeder Cable x 2 (one pair) |  |  | 2548 | 0
W12818 | Feeder - 60m Structure - ⅞” Feeder Cable x 2 (one pair) |  |  | 4160 | 0
W12819 | Feeder - 15m Structure - ⅞ “ Feeder Cable x 6 (three pair) |  |  | 5414.5 | 0
W12819 | Feeder - 20m Structure - ⅞ “ Feeder Cable x 6 (three pair) |  |  | 3412.5 | 0
W12819 | Feeder - 25m Structure - ⅞ “ Feeder Cable x 6 (three pair) |  |  | 3640 | 0
W12819 | Feeder - 30m Structure - ⅞ “ Feeder Cable x 6 (three pair) |  |  | 3867.5 | 0
W12819 | Feeder - 35m Structure - ⅞ “ Feeder Cable x 6 (three pair) |  |  | 4095 | 0
W12819 | Feeder - 40m Structure - ⅞ “ Feeder Cable x 6 (three pair) |  |  | 4368 | 0
W12819 | Feeder - 50m Structure - ⅞” Feeder Cable x 6 (three pair) |  |  | 5096 | 0
W12819 | Feeder - 60m Structure - ⅞” Feeder Cable x 6 (three pair) |  |  | 8840 | 0
W12821 | Feeder - 30m Structure - 1¼” Feeder Cable x 2 (one pair) |  |  | 1956.5 | 0
W12821 | Feeder - 35m Structure - 1¼” Feeder Cable x 2 (one pair) |  |  | 2138.5 | 0
W12821 | Feeder - 40m Structure - 1¼” Feeder Cable x 2 (one pair) |  |  | 2411.5 | 0
W12821 | Feeder - 50m Structure - 1¼” Feeder Cable x 2 (one pair) |  |  | 2684.5 | 0
W12821 | Feeder - 60m Structure - 1¼” Feeder Cable x 2 (one pair) |  |  | 4355 | 0
W12821 | Feeder - 75m Structure - 1¼” Feeder Cable x 2 (one pair) |  |  | 9360 | 0
W12821 | Feeder - 100m Structure - 1¼” Feeder Cable x 2 (one pair) |  |  | 11250.1958 | 0
W12822 | Feeder - 30m Structure - 1¼” Feeder Cable x 6 (three pair) |  |  | 5050.5 | 0
W12822 | Feeder - 35m Structure - 1¼” Feeder Cable x 6 (three pair) |  |  | 5414.5 | 0
W12822 | Feeder - 40m Structure - 1¼” Feeder Cable x 6 (three pair) |  |  | 5778.5 | 0
W12822 | Feeder - 50m Structure - 1¼” Feeder Cable x 6 (three pair) |  |  | 6324.5 | 0
W12822 | Feeder - 60m Structure - 1¼” Feeder Cable x 6 (three pair) |  |  | 9828 | 0
W12822 | Feeder - 75m Structure - 1¼” Feeder Cable x 6 (three pair) |  |  | 11440 | 0
W12822 | Feeder - 100m Structure - 1¼” Feeder Cable x 6 (three pair) |  |  | 20280 | 0
W12824 | Feeder - 30m Structure - 1⅝” Feeder Cable x 2 (one pair) |  |  | 2229.5 | 0
W12824 | Feeder - 35m Structure - 1⅝” Feeder Cable x 2 (one pair) |  |  | 2684.5 | 0
W12824 | Feeder - 40m Structure - 1⅝” Feeder Cable x 2 (one pair) |  |  | 2957.5 | 0
W12824 | Feeder - 50m Structure - 1⅝” Feeder Cable x 2 (one pair) |  |  | 3321.5 | 0
W12824 | Feeder - 60m Structure - 1⅝” Feeder Cable x 2 (one pair) |  |  | 5135 | 0
W12824 | Feeder - 75m Structure - 1⅝” Feeder Cable x 2 (one pair) |  |  | 10205 | 0
W12824 | Feeder - 100m Structure - 1⅝” Feeder Cable x 2 (one pair) |  |  | 11875.8067 | 0
W12825 | Feeder - 30m Structure - 1⅝” Feeder Cable x 6 (three pair) |  |  | 5414.5 | 0
W12825 | Feeder - 35m Structure - 1⅝” Feeder Cable x 6 (three pair) |  |  | 5869.5 | 0
W12825 | Feeder - 40m Structure - 1⅝” Feeder Cable x 6 (three pair) |  |  | 6552 | 0
W12825 | Feeder - 50m Structure - 1⅝” Feeder Cable x 6 (three pair) |  |  | 7189 | 0
W12825 | Feeder - 60m Structure - 1⅝” Feeder Cable x 6 (three pair) |  |  | 11245 | 0
W12825 | Feeder - 75m Structure - 1⅝” Feeder Cable x 6 (three pair) |  |  | 16380 | 0
W12825 | Feeder - 100m Structure - 1⅝” Feeder Cable x 6 (three pair) |  |  | 24570 | 0
W12831 | 1 X Hybrid Cable On A 15m- 75m Structure (Up To 90m Per Cable) - First |  |  | 8024.733 | 0
W12834 | Additional Hybrid cable on a 15m- 75m Structure Extra Over W12831 for Each additional Hybrid cable x 1 (Up to 90m per cable) |  |  | 3931.6594 | 0
W12835 | Additional Hybrid Cable Per Meter - Extra Over W12831 And W12834 For Additional Increment Per Lineal Metre |  |  | 163.99 | 0
MISC
| Weekend uplift rate - Tech |  | per hr | 55 | 0
| Weekend uplift rate - Rigger |  | per hr | 50 | 0
| Site buildability survey and reporting |  | per site | 1020 | 0
| FIM and waste management | INSTALL | per site | 860 | 1
| Senior Technician (Normal working hoours) |  | per hour | 95 | 0
| Senior Technician (Out of Normal working hours) |  | per hour | 145 | 0
| Signage (supplied as FIM) |  | each | 25 | 0
LAB-30 | Team Leader (Normal Working Hours) |  | per hour | 95 | 0
LAB-31 | Team Leader (Out of Normal Working Hours) |  | per hour | 145 | 0
LAB-32 | Technician (Normal Working Hours) |  | per hour | 90 | 0
LAB-33 | Technician (Out of Normal Working Hours) |  | per hour | 140 | 0
LAB-34 | Radio Lines /Riggers (Normal Working Hours) |  | per hour | 85 | 0
LAB-35 | Radio Lines /Riggers (Out of Normal Working Hours) |  | per hour | 135 | 0
W13398 | Tier 2 Tower Inspections BAU when completing Build |  | per site | 475 | 0
PLANT HIRE
| Ewp hire - 20m |  | per hour | 0 | 0
| Ewp hire - 30m |  | per hour | 0 | 0
| Ewp hire - 32m |  | per hour | 0 | 0
| Ewp hire - 40m |  | per hour | 0 | 0
| Ewp hire - 45m |  | per hour | 0 | 0
| Ewp hire - 48m |  | per hour | 0 | 0
| Ewp hire - 51m | REPLACE | per hour | 0 | 2
| Ewp hire - 61m |  | per hour | 0 | 0
| Ewp hire - 72m |  | per hour | 0 | 0
| EWP hire - 103m price on application |  | per hour | 0 | 0
| Boom Hire 86ft Self Propelld |  | per week | 0 | 0
| Boom hire 135 self propelled |  | per week | 0 | 0
| Crane hire - Franna- 20t |  | per hour | 0 | 0
| Crane hire - Franna- 25t |  | per hour | 0 | 0
| Crane hire - Franna- 25t superlift |  | per hour | 0 | 0
| Crane hire - Franna- 40t |  | per hour | 0 | 0
| Crane hire - 20t City Crane |  | per hour | 0 | 0
| Crane hire - 40t all terrain |  | per hour | 0 | 0
| Crane hire - 55t all terrain |  | per hour | 0 | 0
| Crane hire - 60t all terrain |  | per hour | 0 | 0
| Crane hire - 80t all terrain |  | per hour | 0 | 0
| Crane hire - 90t all terrain |  | per hour | 0 | 0
| Crane hire - 100t all terrain | INSTALL | per hour | 0 | 2
| Crane hire - 130t all terrain |  | per hour | 0 | 0
| Crane hire - 150t all terrain |  | per hour | 0 | 0
| Crane hire - 200t all terrain |  | per hour | 0 | 0
| Crane hire - 220t all terrain |  | per hour | 0 | 0
| Crane hire - 250t all terrain |  | per hour | 0 | 0
TRAVEL AND ACCOMODATION
| Accommodation and meals | INSTALL | night | 250 | 1
| Capital city accommodation and meals |  | night | 250 | 0
| Travel per vehicle |  | per km | 1.6 | 0
| Travel charge rate per rigger/tech | INSTALL | per hr | 85 | 1
TOTAL ESTIMATED COST (EXCLUDING GST)